## summary
db | records | records_nonpaced | n_N | n_S | n_V | n_F | n_Q | records_with_AF | S_top3 | V_top3 | S_FP_budget@85/85 | S_FP_rate_needed_% | V_FP_budget@96/96
afdb | 23 | 23 | 1128561 | 0 | 0 | 0 | 0 | 23
mitdb | 48 | 44 | 74938 | 2502 | 5900 | 623 | 15 | 7 | 232:1167 (47%), 209:372 (15%), 222:209 (8%) | 208:824, 200:700, 233:692 | 375 | 0.461 | 236
nstdb | 15 | 15 | 18684 | 516 | 2262 | 0 | 0 | 0 | 118e00:86 (17%), 118e06:86 (17%), 118e12:86 (17%) | 119e12:364, 119e18:364, 119e00:364 | 77 | 0.37 | 90

## mitdb_DS1_DS2
split | n_N | n_S | n_V | n_F | n_Q
DS1 | 38012 | 894 | 3214 | 335 | 8
DS2 | 36926 | 1608 | 2686 | 288 | 7
paced | 334 | 0 | 201 | 0 | 6772

## afdb
db | record | fs | dur_min | lead_used | n_beats | n_N | n_S | n_V | n_F | n_Q | S_pct | V_pct | rhythms | AF_burden_pct | HR_mean | RR_cv | RR_max_s | PI_N_pct_lt0.85 | S_in_runs_pct | N_qrs_ms | N_p_rel | N_p_cons | N_t_rel | snr_db_median | pct_win_snr_lt10 | flags | leads | sym_N | paced | n_pause_gt2s | PI_N_p5 | n_N_in_AF | PI_N_in_AF_pct_lt0.85 | S_runs_ge2 | S_runs_ge3 | V_couplets | V_runs_ge3 | S_majority_over_N | N_r_amp | bw_rel_median | hf_rel_median | pct_flat | rhythm_AFIB_min | rhythm_AFIB_episodes | rhythm_AFL_min | rhythm_AFL_episodes | beat_ann | rhythm_J_min | rhythm_J_episodes
afdb | 04015 | 250 | 613.7 | ECG1 | 44005 | 44005 | 0 | 0 | 0 | 0 | 0 | 0 | AFIB,N | 0.64 | 73.3 | 0.136 | 3.69 | 4.43 | 0 | 64 | 0.123 | 0.923 | 0.478 | 23.6574 | 0.1358 | LEAD=ECG1;N_irregular_RR(FP_S_risk);pause>3.69s | ECG1,ECG2 | 44005 | FALSE | 2 | 0.899 | 525 | 26.3 | 0 | 0 | 0 | 0 | FALSE | 1.453 | 0.56343 | 0.016408 | 0 | 3.95 | 7 |  |  | qrs
afdb | 04043 | 250 | 613.7 | ECG1 | 61915 | 61915 | 0 | 0 | 0 | 0 | 0 | 0 | AFIB,AFL,N | 21.54 | 103.2 | 0.132 | 1.66 | 5.12 | 0 | 76 | 0.215 | 0.972 | 0.186 | 25.4035 | 0 | LEAD=ECG1;AF/AFL;N_irregular_RR(FP_S_risk) | ECG1,ECG2 | 61915 | FALSE | 0 | 0.846 | 14659 | 17.8 | 0 | 0 | 0 | 0 | FALSE | 1.294 | 0.15444 | 0.01342 | 0 | 132 | 82 | 0.22 | 1 | qrs
afdb | 04048 | 250 | 613.7 | ECG1 | 39934 | 39934 | 0 | 0 | 0 | 0 | 0 | 0 | AFIB,N | 0.98 | 68.2 | 0.159 | 14.4 | 1.42 | 0 | 88 | 0.076 | 0.892 | 0.391 | 25.4346 | 0.10864 | LEAD=ECG1;pause>14.4s | ECG1,ECG2 | 39934 | FALSE | 15 | 0.965 | 813 | 30.3 | 0 | 0 | 0 | 0 | FALSE | 0.781 | 0.2539 | 0.013372 | 0 | 6.01 | 7 |  |  | qrs
afdb | 04126 | 250 | 613.7 | ECG1 | 42860 | 42860 | 0 | 0 | 0 | 0 | 0 | 0 | AFIB,N | 3.74 | 71.4 | 0.237 | 2.6 | 9.92 | 0 | 68 | 0.108 | 0.842 | 0.067 | 22.4443 | 0 | LEAD=ECG1;N_irregular_RR(FP_S_risk) | ECG1,ECG2 | 42860 | FALSE | 3 | 0.717 | 3293 | 28.7 | 0 | 0 | 0 | 0 | FALSE | 0.59 | 0.324 | 0.018868 | 0 | 22.97 | 7 |  |  | qrs
afdb | 04746 | 250 | 613.7 | ECG1 | 47873 | 47873 | 0 | 0 | 0 | 0 | 0 | 0 | AFIB,N | 53.1 | 79.8 | 0.291 | 1.85 | 17.44 | 0 | 64 | 0.06 | 0.523 | 0.403 | 20.7621 | 0.081477 | LEAD=ECG1;AF/AFL;N_irregular_RR(FP_S_risk) | ECG1,ECG2 | 47873 | FALSE | 0 | 0.696 | 30873 | 26.4 | 0 | 0 | 0 | 0 | FALSE | 0.416 | 0.36463 | 0.0229 | 0 | 325.88 | 5 |  |  | qrs
afdb | 04908 | 250 | 613.7 | ECG1 | 61760 | 61760 | 0 | 0 | 0 | 0 | 0 | 0 | AFIB,AFL,N | 9.06 | 102.9 | 0.108 | 1.26 | 3.61 | 0 | 60 | 0.045 | 0.913 | 0.134 | 28.1105 | 0 | LEAD=ECG1;AF/AFL;N_irregular_RR(FP_S_risk) | ECG1,ECG2 | 61760 | FALSE | 0 | 0.909 | 6441 | 15 | 0 | 0 | 0 | 0 | FALSE | 2.617 | 0.07504 | 0.0098269 | 0 | 51.37 | 8 | 4.23 | 4 | qrs
afdb | 04936 | 250 | 613.7 | ECG1 | 53646 | 53646 | 0 | 0 | 0 | 0 | 0 | 0 | AFIB,AFL,N | 81.34 | 89.4 | 0.307 | 2.23 | 18.23 | 0 | 80 | 0.054 | 0.44 | 0.048 | 28.8498 | 0.027159 | LEAD=ECG1;AF/AFL;P_weak/absent;N_irregular_RR(FP_S_risk) | ECG1,ECG2 | 53646 | FALSE | 2 | 0.667 | 46004 | 21 | 0 | 0 | 0 | 0 | FALSE | 1.336 | 0.13396 | 0.009025 | 0 | 442.68 | 36 | 56.52 | 1 | qrs
afdb | 05091 | 250 | 613.7 | ECG1 | 36793 | 36793 | 0 | 0 | 0 | 0 | 0 | 0 | AFIB,N | 0.24 | 61.3 | 0.109 | 5.24 | 2.28 | 0 | 72 | 0.083 | 0.758 | 0.066 | 25.925 | 0 | LEAD=ECG1;N_irregular_RR(FP_S_risk);pause>5.24s | ECG1,ECG2 | 36793 | FALSE | 12 | 0.96 | 138 | 44.2 | 0 | 0 | 0 | 0 | FALSE | 1.12 | 0.28627 | 0.012638 | 0 | 1.45 | 8 |  |  | qrs
afdb | 05121 | 250 | 613.7 | ECG1 | 49881 | 49881 | 0 | 0 | 0 | 0 | 0 | 0 | AFIB,J,N | 63.03 | 83.1 | 0.195 | 2.05 | 15.76 | 0 | 112 | 0.026 | 0.541 | 0.332 | 33.9321 | 0 | LEAD=ECG1;AF/AFL;N_irregular_RR(FP_S_risk) | ECG1,ECG2 | 49881 | FALSE | 1 | 0.726 | 33759 | 21.2 | 0 | 0 | 0 | 0 | FALSE | 2.645 | 0.13974 | 0.0050273 | 0 | 386.82 | 20 |  |  | qrs | 3.83 | 6
afdb | 05261 | 250 | 613.7 | ECG1 | 45534 | 45534 | 0 | 0 | 0 | 0 | 0 | 0 | AFIB,N | 1.3 | 75.9 | 0.165 | 2.6 | 7.28 | 0 | 52 | 0.147 | 0.902 | 0.16 | 20.3428 | 0.24443 | LEAD=ECG1;N_irregular_RR(FP_S_risk) | ECG1,ECG2 | 45534 | FALSE | 4 | 0.698 | 934 | 33.5 | 0 | 0 | 0 | 0 | FALSE | 1.669 | 0.43475 | 0.024033 | 0 | 7.99 | 11 |  |  | qrs
afdb | 06426 | 250 | 613.7 | ECG1 | 55155 | 55155 | 0 | 0 | 0 | 0 | 0 | 0 | AFIB,AFL,J,N | 95.68 | 91.9 | 0.256 | 2.68 | 26.53 | 0 | 140 | 0.084 | 0.527 | 0.308 | 27.5543 | 0.24443 | LEAD=ECG1;AF/AFL;N_irregular_RR(FP_S_risk);wide_QRS_baseline(BBB) | ECG1,ECG2 | 55155 | FALSE | 8 | 0.697 | 53373 | 27.1 | 0 | 0 | 0 | 0 | FALSE | 1.522 | 0.38111 | 0.010477 | 0 | 585.23 | 26 | 1.96 | 1 | qrs | 1.57 | 5
afdb | 06453 | 250 | 555 | ECG1 | 34837 | 34837 | 0 | 0 | 0 | 0 | 0 | 0 | AFIB,N | 1.11 | 63 | 0.118 | 2.18 | 2.8 | 0 | 168 | 0.073 | 0.971 | 0.322 | 30.5527 | 0.03003 | LEAD=ECG1;N_irregular_RR(FP_S_risk);wide_QRS_baseline(BBB) | ECG1,ECG2 | 34837 | FALSE | 3 | 0.962 | 445 | 21.3 | 0 | 0 | 0 | 0 | FALSE | 1.153 | 0.17772 | 0.0074183 | 0 | 6.19 | 6 |  |  | qrs
afdb | 06995 | 250 | 613.7 | ECG1 | 55189 | 55189 | 0 | 0 | 0 | 0 | 0 | 0 | AFIB,AFL,N | 47.17 | 92 | 0.194 | 1.71 | 18.82 | 0 | 56 | 0.055 | 0.674 | 0.337 | 23.743 | 0 | LEAD=ECG1;AF/AFL;N_irregular_RR(FP_S_risk) | ECG1,ECG2 | 55189 | FALSE | 0 | 0.722 | 27552 | 24.7 | 0 | 0 | 0 | 0 | FALSE | 1.065 | 0.17478 | 0.016248 | 0 | 289.29 | 6 | 0.21 | 2 | qrs
afdb | 07162 | 250 | 613.7 | ECG1 | 39298 | 39298 | 0 | 0 | 0 | 0 | 0 | 0 | AFIB | 100 | 65.5 | 0.256 | 3.54 | 27.41 | 0 | 252 | 0.743 | 0.098 | 1.607 | -25.9883 | 100 | LEAD=ECG1;AF/AFL;P_weak/absent;N_irregular_RR(FP_S_risk);pause>3.54s;noisy;wide_QRS_baseline(BBB);tall_T(FP_QRS_risk) | ECG1,ECG2 | 39298 | FALSE | 14 | 0.638 | 39298 | 27.4 | 0 | 0 | 0 | 0 | FALSE | 0.001 | 57.9291 | 4.9815 | 0 | 613.71 | 1 |  |  | qrs
afdb | 07859 | 250 | 613.7 | ECG1 | 60266 | 60266 | 0 | 0 | 0 | 0 | 0 | 0 | AFIB | 100 | 100.5 | 0.15 | 4.22 | 8.83 | 0 | 60 | 0.009 | 0.034 | 0.063 | 22.8318 | 0.16295 | LEAD=ECG1;AF/AFL;P_weak/absent;N_irregular_RR(FP_S_risk);pause>4.22s | ECG1,ECG2 | 60266 | FALSE | 2 | 0.818 | 60266 | 8.8 | 0 | 0 | 0 | 0 | FALSE | 0.422 | 0.36095 | 0.018045 | 0 | 613.71 | 1 |  |  | qrs
afdb | 07879 | 250 | 613.7 | ECG1 | 56594 | 56594 | 0 | 0 | 0 | 0 | 0 | 0 | AFIB,J,N | 60.3 | 94.3 | 0.349 | 8.12 | 12.15 | 0 | 56 | 0.058 | 0.424 | 0.063 | 21.201 | 0 | LEAD=ECG1;AF/AFL;P_weak/absent;N_irregular_RR(FP_S_risk);pause>8.12s | ECG1,ECG2 | 56594 | FALSE | 107 | 0.77 | 40035 | 16.7 | 0 | 0 | 0 | 0 | FALSE | 0.522 | 0.37508 | 0.021771 | 0 | 370.04 | 2 |  |  | qrs | 0.11 | 1
afdb | 07910 | 250 | 613.7 | ECG1 | 36599 | 36599 | 0 | 0 | 0 | 0 | 0 | 0 | AFIB,AFL,N | 17.26 | 61 | 0.195 | 6.26 | 6.7 | 0 | 64 | 0.033 | 0.746 | 0.073 | 29.251 | 0 | LEAD=ECG1;AF/AFL;N_irregular_RR(FP_S_risk);pause>6.26s | ECG1,ECG2 | 36599 | FALSE | 107 | 0.787 | 7618 | 25.3 | 0 | 0 | 0 | 0 | FALSE | 1.013 | 0.12336 | 0.0086176 | 0 | 97.82 | 5 | 8.1 | 1 | qrs
afdb | 08215 | 250 | 613.7 | ECG1 | 43356 | 43356 | 0 | 0 | 0 | 0 | 0 | 0 | AFIB,AFL,N | 80.72 | 72.3 | 0.226 | 2.27 | 17.22 | 0 | 60 | 0.014 | 0.285 | 0.326 | 26.2786 | 0 | LEAD=ECG1;AF/AFL;P_weak/absent;N_irregular_RR(FP_S_risk) | ECG1,ECG2 | 43356 | FALSE | 7 | 0.678 | 33207 | 22.2 | 0 | 0 | 0 | 0 | FALSE | 0.697 | 0.29321 | 0.012134 | 0 | 494.57 | 2 | 0.84 | 1 | qrs
afdb | 08219 | 250 | 613.7 | ECG1 | 59293 | 59293 | 0 | 0 | 0 | 0 | 0 | 0 | AFIB,N | 21.59 | 98.8 | 0.188 | 4.02 | 15.1 | 0 | 68 | 0.123 | 0.715 | 0.082 | 20.7522 | 0.89625 | LEAD=ECG1;AF/AFL;N_irregular_RR(FP_S_risk);pause>4.02s | ECG1,ECG2 | 59293 | FALSE | 4 | 0.643 | 14194 | 19.9 | 0 | 0 | 0 | 0 | FALSE | 0.405 | 0.29044 | 0.022926 | 0 | 132.48 | 39 |  |  | qrs
afdb | 08378 | 250 | 613.7 | ECG1 | 45515 | 45515 | 0 | 0 | 0 | 0 | 0 | 0 | AFIB,AFL,N | 25.12 | 75.9 | 0.226 | 1.99 | 5.17 | 0 | 84 | 0.076 | 0.919 | 0.31 | 28.6596 | 0.027159 | LEAD=ECG1;AF/AFL;N_irregular_RR(FP_S_risk) | ECG1,ECG2 | 45515 | FALSE | 0 | 0.845 | 15022 | 12.5 | 0 | 0 | 0 | 0 | FALSE | 2.525 | 0.23842 | 0.0092249 | 0 | 128.31 | 5 | 25.88 | 3 | qrs
afdb | 08405 | 250 | 613.7 | ECG1 | 58856 | 58856 | 0 | 0 | 0 | 0 | 0 | 0 | AFIB,N | 72.21 | 98.1 | 0.273 | 1.78 | 22.39 | 0 | 56 | 0.037 | 0.283 | 0.149 | 11.1266 | 47.2026 | LEAD=ECG1;AF/AFL;P_weak/absent;N_irregular_RR(FP_S_risk);noisy | ECG1,ECG2 | 58856 | FALSE | 0 | 0.671 | 45095 | 28.6 | 0 | 0 | 0 | 0 | FALSE | 1.547 | 0.14558 | 0.06944 | 0 | 443.16 | 2 |  |  | qrs
afdb | 08434 | 250 | 613.7 | ECG1 | 39850 | 39850 | 0 | 0 | 0 | 0 | 0 | 0 | AFIB,N | 3.87 | 66.4 | 0.151 | 4.77 | 3.81 | 0 | 56 | 0.023 | 0.463 | 0.179 | 22.8152 | 0 | LEAD=ECG1;P_weak/absent;N_irregular_RR(FP_S_risk);pause>4.77s | ECG1,ECG2 | 39850 | FALSE | 4 | 0.918 | 2310 | 14.8 | 0 | 0 | 0 | 0 | FALSE | 0.954 | 0.32159 | 0.018079 | 0 | 23.73 | 3 |  |  | qrs
afdb | 08455 | 250 | 613.7 | ECG1 | 59552 | 59552 | 0 | 0 | 0 | 0 | 0 | 0 | AFIB,N | 69.17 | 99.3 | 0.273 | 3.52 | 18.22 | 0 | 60 | 0.061 | 0.475 | 0.236 | 19.4569 | 2.3085 | LEAD=ECG1;AF/AFL;P_weak/absent;N_irregular_RR(FP_S_risk);pause>3.52s | ECG1,ECG2 | 59552 | FALSE | 3 | 0.713 | 44264 | 24.2 | 0 | 0 | 0 | 0 | FALSE | 1.517 | 0.312 | 0.026613 | 0 | 424.52 | 2 |  |  | qrs

## mitdb
db | record | split | fs | dur_min | lead_used | n_beats | n_N | n_S | n_V | n_F | n_Q | S_pct | V_pct | rhythms | AF_burden_pct | HR_mean | RR_cv | RR_max_s | PI_S_median | PI_S_pct_lt0.85 | AUC_RR_S_vs_N | PI_N_pct_lt0.85 | S_in_runs_pct | N_qrs_ms | N_p_rel | N_p_cons | N_t_rel | corrQRS_S_vs_N | corrP_S_vs_N | corrQRS_V_vs_N | snr_db_median | pct_win_snr_lt10 | flags | leads | sym_N | sym_A | sym_V | paced | n_pause_gt2s | PI_N_p5 | comp_S_median | n_N_in_AF | PI_N_in_AF_pct_lt0.85 | S_runs_ge2 | S_runs_ge3 | V_couplets | V_runs_ge3 | S_majority_over_N | N_r_amp | bw_rel_median | hf_rel_median | pct_flat | S_qrs_ms | S_p_rel | sym_Q | rhythm_P_min | rhythm_P_episodes | sym_/ | sym_f | V_qrs_ms | V_p_rel | corrP_V_vs_N | rhythm_B_min | rhythm_B_episodes | rhythm_T_min | rhythm_T_episodes | sym_F | sym_j | sym_L | sym_a | rhythm_SVTA_min | rhythm_SVTA_episodes | sym_J | sym_R | rhythm_NOD_min | rhythm_NOD_episodes | rhythm_IVR_min | rhythm_IVR_episodes | rhythm_VT_min | rhythm_VT_episodes | rhythm_AFIB_min | rhythm_AFIB_episodes | rhythm_AFL_min | rhythm_AFL_episodes | rhythm_VFL_min | rhythm_VFL_episodes | sym_E | sym_S | rhythm_AB_min | rhythm_AB_episodes | sym_e | rhythm_PREX_min | rhythm_PREX_episodes | rhythm_BII_min | rhythm_BII_episodes | rhythm_SBR_min | rhythm_SBR_episodes
mitdb | 100 | DS2 | 360 | 30.1 | MLII | 1902 | 1872 | 29 | 1 | 0 | 0 | 1.52 | 0.05 | N | 0 | 75.5 | 0.061 | 1.13 | 0.75 | 100 | 1 | 0 | 0 | 41.667 | 0.091 | 0.955 | 0.079 | 0.999 | 0.828 |  | 23.554 | 0 | S≈N_morph+P | MLII,V5 | 1872 | 29 | 1 | FALSE | 0 | 0.942 | 1.633 | 0 |  | 0 | 0 | 0 | 0 | FALSE | 1.238 | 0.127 | 0.016605 | 0 | 41.7 | 0.096
mitdb | 101 | DS1 | 360 | 30.1 | MLII | 1523 | 1518 | 3 | 0 | 0 | 2 | 0.2 | 0 | N | 0 | 62 | 0.073 | 1.89 | 0.651 | 66.7 | 0.987 | 0.13 | 0 | 50 | 0.091 | 0.968 | 0.156 |  |  |  | 26.5014 | 0 |  | MLII,V1 | 1518 | 3 |  | FALSE | 0 | 0.926 | 1.937 | 0 |  | 0 | 0 | 0 | 0 | FALSE | 1.6 | 0.14362 | 0.011827 | 0 |  |  | 2
mitdb | 102 | paced | 360 | 30.1 | V5 | 1821 | 1 | 0 | 3 | 0 | 1817 | 0 | 0.16 | P | 0 | 72.7 | 0.039 | 0.97 |  |  |  |  | 0 | [9 empty] | PACED(exclude);LEAD=V5 | V5,V2 | 1 |  | 3 | TRUE | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | FALSE | [7 empty] | 25.09 | 1 | 1785 | 32
mitdb | 103 | DS2 | 360 | 30.1 | MLII | 1729 | 1727 | 2 | 0 | 0 | 0 | 0.12 | 0 | N | 0 | 69.3 | 0.054 | 1.12 | 0.886 | 50 |  | 0.29 | 0 | 55.556 | 0.046 | 0.954 | 0.201 |  |  |  | 28.2771 | 0 |  | MLII,V2 | 1727 | 2 |  | FALSE | 0 | 0.933 | 1.42 | 0 |  | 0 | 0 | 0 | 0 | FALSE | 2.025 | 0.077706 | 0.0096402 | 0
mitdb | 104 | paced | 360 | 30.1 | V5 | 1857 | 98 | 0 | 1 | 0 | 1758 | 0 | 0.05 | N,P | 0 | 74.1 | 0.046 | 0.94 |  |  |  | 0 | 0 | 77.778 | 0.072 | 0.928 | 0.296 |  |  |  | 19.4498 | 0.66667 | PACED(exclude);LEAD=V5 | V5,V2 | 98 |  | 1 | TRUE | 0 | 0.876 |  | 0 |  | 0 | 0 | 0 | 0 | FALSE | 1.284 | 0.14068 | 0.026635 | 0 |  |  | 13 | 22.5 | 16 | 1183 | 562
mitdb | 105 | DS2 | 360 | 30.1 | MLII | 2155 | 2121 | 0 | 29 | 0 | 5 | 0 | 1.35 | N | 0 | 85.5 | 0.092 | 1.43 |  |  |  | 0 | 0 | 166.667 | 0.146 | 0.951 | 0.129 |  |  | 0.96 | 28.1832 | 0 | wide_QRS_baseline(BBB);V≈N_morph | MLII,V1 | 2121 |  | 29 | FALSE | 0 | 0.954 |  | 0 |  | 0 | 0 | 0 | 0 | FALSE | 1.449 | 0.14696 | 0.0097449 | 0 |  |  | 5 |  |  |  |  | 80.6 | 0.122 | 0.452
mitdb | 106 | DS1 | 360 | 30.1 | MLII | 1696 | 1236 | 0 | 460 | 0 | 0 | 0 | 27.12 | B,N,T | 0 | 67.4 | 0.293 | 1.5 |  |  |  | 1.05 | 0 | 44.444 | 0.13 | 0.976 | 0.256 |  |  | 0.789 | 26.9444 | 0 |  | MLII,V1 | 1236 |  | 460 | FALSE | 0 | 0.904 |  | 0 |  | 0 | 0 | 75 | 0 | FALSE | 2.102 | 0.17823 | 0.011239 | 0 | [7 empty] | 80.6 | 0.23 | -0.768 | 7.17 | 17 | 0.22 | 1
mitdb | 107 | paced | 360 | 30.1 | MLII | 1784 | 0 | 0 | 57 | 0 | 1727 | 0 | 3.2 | P | 0 | 71 | 0.047 | 0.94 |  |  |  |  | 0 | [9 empty] | PACED(exclude) | MLII,V1 |  |  | 57 | TRUE | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | FALSE | [7 empty] | 25.09 | 1 | 1727 |  | 116.7 | 0.516
mitdb | 108 | DS1 | 360 | 30.1 | MLII | 1480 | 1461 | 4 | 13 | 2 | 0 | 0.27 | 0.88 | N | 0 | 58.6 | 0.121 | 1.71 | 0.624 | 100 | 1 | 0.21 | 0 | 100 | 0.314 | 0.754 | 0.258 |  |  | -0.759 | 20.5843 | 0 |  | MLII,V1 | 1460 | 4 | 13 | FALSE | 0 | 0.913 | 2.073 | 0 |  | 0 | 0 | 0 | 0 | FALSE | 0.61 | 0.70045 | 0.023374 | 0 | [7 empty] | 194.4 | 0.066 | 0.745 |  |  |  |  | 2 | 1
mitdb | 109 | DS1 | 360 | 30.1 | MLII | 2099 | 2067 | 0 | 32 | 0 | 0 | 0 | 1.52 | N | 0 | 84.1 | 0.053 | 0.92 |  |  |  | 0 | 0 | 133.333 | 0.133 | 0.963 | 0.318 |  |  | 0.76 | 31.1846 | 0 | wide_QRS_baseline(BBB) | MLII,V1 |  |  | 32 | FALSE | 0 | 0.948 |  | 0 |  | 0 | 0 | 0 | 0 | FALSE | 1.6 | 0.1012 | 0.0068978 | 0 | [7 empty] | 158.3 | 0.043 | -0.132 | [6 empty] | 2067
mitdb | 111 | DS2 | 360 | 30.1 | MLII | 1776 | 1775 | 0 | 1 | 0 | 0 | 0 | 0.06 | N | 0 | 70.6 | 0.045 | 1.02 |  |  |  | 0.11 | 0 | 122.222 | 0.107 | 0.977 | 0.439 |  |  |  | 24.6201 | 0 | wide_QRS_baseline(BBB) | MLII,V1 |  |  | 1 | FALSE | 0 | 0.947 |  | 0 |  | 0 | 0 | 0 | 0 | FALSE | 0.801 | 0.45843 | 0.014687 | 0 | [16 empty] | 1775
mitdb | 112 | DS1 | 360 | 30.1 | MLII | 2111 | 2109 | 2 | 0 | 0 | 0 | 0.09 | 0 | N | 0 | 84.4 | 0.031 | 0.96 | 0.829 | 50 |  | 0 | 0 | 72.222 | 0.129 | 0.934 | 0.392 |  |  |  | 26.5255 | 0 |  | MLII,V1 | 2109 | 2 |  | FALSE | 0 | 0.973 | 1.54 | 0 |  | 0 | 0 | 0 | 0 | FALSE | 0.694 | 0.26824 | 0.011794 | 0
mitdb | 113 | DS2 | 360 | 30.1 | MLII | 1506 | 1501 | 5 | 0 | 0 | 0 | 0.33 | 0 | N | 0 | 59.6 | 0.099 | 1.39 | 0.485 | 100 | 1 | 5.13 | 0 | 38.889 | 0.044 | 0.962 | 0.467 | 0.985 | -0.05 |  | 25.845 | 0 | N_irregular_RR(FP_S_risk) | MLII,V1 | 1501 |  |  | FALSE | 0 | 0.85 | 2.011 | 0 |  | 0 | 0 | 0 | 0 | FALSE | 2.304 | 0.12821 | 0.012755 | 0 | 38.9 | 0.476 | [15 empty] | 5
mitdb | 114 | DS1 | 360 | 30.1 | MLII | 1604 | 1559 | 11 | 30 | 4 | 0 | 0.69 | 1.87 | N,SVTA | 0 | 62.5 | 0.14 | 1.68 | 0.816 | 63.6 | 0.91 | 0 | 45.5 | 63.889 | 0.026 | 0.803 | 0.089 | 0.999 | 0.32 | -0.825 | 28.5483 | 0 |  | V5,MLII | 1559 | 10 | 30 | FALSE | 0 | 0.934 | 1.345 | 0 |  | 1 | 1 | 1 | 0 | FALSE | 2.128 | 0.13301 | 0.0093438 | 0 | 61.1 | 0.01 | [5 empty] | 94.4 | 0.017 | 0.177 |  |  |  |  | 4 |  |  |  | 0.08 | 1 | 1
mitdb | 115 | DS1 | 360 | 30.1 | MLII | 1637 | 1637 | 0 | 0 | 0 | 0 | 0 | 0 | N | 0 | 64.9 | 0.094 | 1.31 |  |  |  | 1.77 | 0 | 58.333 | 0.06 | 0.963 | 0.124 |  |  |  | 28.0851 | 0 |  | MLII,V1 | 1637 |  |  | FALSE | 0 | 0.889 |  | 0 |  | 0 | 0 | 0 | 0 | FALSE | 2.273 | 0.16966 | 0.0098556 | 0
mitdb | 116 | DS1 | 360 | 30.1 | MLII | 2017 | 1918 | 1 | 98 | 0 | 0 | 0.05 | 4.86 | N | 0 | 80.2 | 0.104 | 1.08 | 0.644 | 100 |  | 0 | 0 | 63.889 | 0.054 | 0.96 | 0.16 |  |  | 0.748 | 28.5907 | 0 |  | MLII,V1 | 1918 | 1 | 98 | FALSE | 0 | 0.97 | 1.889 | 0 |  | 0 | 0 | 2 | 0 | FALSE | 3.115 | 0.14626 | 0.0092984 | 0 | [7 empty] | 91.7 | 0.125 | -0.563
mitdb | 117 | DS2 | 360 | 30.1 | MLII | 1284 | 1283 | 1 | 0 | 0 | 0 | 0.08 | 0 | N | 0 | 51 | 0.037 | 1.29 | 0.619 | 100 |  | 0 | 0 | 69.444 | 0.228 | 0.948 | 0.858 |  |  |  | 26.4501 | 0 | tall_T(FP_QRS_risk) | MLII,V2 | 1283 | 1 |  | FALSE | 0 | 0.96 | 1.682 | 0 |  | 0 | 0 | 0 | 0 | FALSE | 0.689 | 0.36268 | 0.011897 | 0
mitdb | 118 | DS1 | 360 | 30.1 | MLII | 1916 | 1817 | 86 | 13 | 0 | 0 | 4.49 | 0.68 | N | 0 | 75.7 | 0.116 | 1.57 | 0.758 | 91.9 | 0.993 | 0 | 2.3 | 119.444 | 0.152 | 0.909 | 0.263 | 0.998 | -0.005 | 0.836 | 23.4887 | 0 |  | MLII,V1 |  | 86 | 13 | FALSE | 0 | 0.964 | 1.475 | 0 |  | 1 | 0 | 0 | 0 | FALSE | 1.32 | 0.20338 | 0.01673 | 0 | 119.4 | 0.053 | [5 empty] | 97.2 | 0.144 | 0.162 | [11 empty] | 1817
mitdb | 119 | DS1 | 360 | 30.1 | MLII | 1661 | 1297 | 0 | 364 | 0 | 0 | 0 | 21.91 | B,N,T | 0 | 66 | 0.284 | 1.47 |  |  |  | 0.85 | 0 | 58.333 | 0.137 | 0.904 | 0.231 |  |  | 0.641 | 30.198 | 0 |  | MLII,V1 | 1297 |  | 364 | FALSE | 0 | 0.947 |  | 0 |  | 0 | 0 | 0 | 0 | FALSE | 2.187 | 0.26088 | 0.0077275 | 0 | [7 empty] | 119.4 | 0.089 | -0.533 | 2.98 | 28 | 3.21 | 15
mitdb | 121 | DS2 | 360 | 30.1 | MLII | 1560 | 1558 | 1 | 1 | 0 | 0 | 0.06 | 0.06 | N | 0 | 61.9 | 0.087 | 1.46 | 0.672 | 100 |  | 0 | 0 | 83.333 | 0.088 | 0.932 | 0.204 |  |  |  | 31.8571 | 0 |  | MLII,V1 | 1558 | 1 | 1 | FALSE | 0 | 0.96 | 1.81 | 0 |  | 0 | 0 | 0 | 0 | FALSE | 0.907 | 0.36153 | 0.0063839 | 0
mitdb | 122 | DS1 | 360 | 30.1 | MLII | 2054 | 2054 | 0 | 0 | 0 | 0 | 0 | 0 | N | 0 | 82.3 | 0.055 | 0.91 |  |  |  | 0 | 0 | 105.556 | 0.143 | 0.98 | 0.047 |  |  |  | 30.4226 | 0 |  | MLII,V1 | 2054 |  |  | FALSE | 0 | 0.956 |  | 0 |  | 0 | 0 | 0 | 0 | FALSE | 1.803 | 0.10353 | 0.0075302 | 0
mitdb | 123 | DS2 | 360 | 30.1 | MLII | 1269 | 1266 | 0 | 3 | 0 | 0 | 0 | 0.24 | N | 0 | 50.4 | 0.102 | 1.52 |  |  |  | 6 | 0 | 61.111 | 0.087 | 0.978 | 0.21 |  |  |  | 30.693 | 0 | N_irregular_RR(FP_S_risk) | MLII,V5 | 1266 |  | 3 | FALSE | 0 | 0.842 |  | 0 |  | 0 | 0 | 0 | 0 | FALSE | 2.03 | 0.084933 | 0.0072995 | 0
mitdb | 124 | DS1 | 360 | 30.1 | MLII | 1367 | 1298 | 17 | 47 | 5 | 0 | 1.24 | 3.44 | IVR,N,NOD,T | 0 | 53.8 | 0.081 | 1.58 | 1.004 | 5.9 | 0.439 | 0 | 88.2 | 105.556 | 0.04 | 0.904 | 0.117 | 0.999 | -0.025 | -0.772 | 35.8337 | 0 | VT_runs | MLII,V4 |  | 2 | 47 | FALSE | 0 | 0.95 | 0.99 | 0 |  | 3 | 3 | 0 | 3 | FALSE | 2.257 | 0.20105 | 0.0040388 | 0 | 100 | 0.022 | [5 empty] | 183.3 | 0.038 | 0.514 |  |  | 0.37 | 2 | 5 | 5 |  |  |  |  | 15 | 1293 | 0.29 | 2 | 0.62 | 3
mitdb | 200 | DS2 | 360 | 30.1 | MLII | 2168 | 1438 | 28 | 700 | 2 | 0 | 1.29 | 32.29 | B,N,VT | 0 | 86.4 | 0.219 | 1.32 | 0.837 | 71.4 | 0.984 | 0.83 | 7.1 | 72.222 | 0.031 | 0.471 | 0.076 | 0.999 | 0.523 | -0.714 | 24.7972 | 0 | P_weak/absent;VT_runs | MLII,V1 | 1438 | 28 | 700 | FALSE | 0 | 0.905 | 1.327 | 0 |  | 1 | 0 | 35 | 5 | FALSE | 1.119 | 0.26957 | 0.014391 | 0 | 75 | 0.137 | [5 empty] | 122.2 | 0.024 | 0.435 | 11.96 | 58 |  |  | 2 | [11 empty] | 0.21 | 6
mitdb | 201 | DS1 | 360 | 30.1 | MLII | 1521 | 1195 | 126 | 198 | 2 | 0 | 8.28 | 13.02 | AFIB,N,NOD,SVTA,T | 20.32 | 65.2 | 0.39 | 3.77 | 0.462 | 98.4 | 0.985 | 12.3 | 38.9 | 55.556 | 0.088 | 0.885 | 0.17 | 0.958 | 0.289 | 0.75 | 29.5932 | 0 | AF/AFL;S_in_runs(SVTA);N_irregular_RR(FP_S_risk);pause>3.77s | MLII,V1 | 1185 | 30 | 198 | FALSE | 13 | 0.711 | 2.481 | 456 | 25.9 | 24 | 1 | 0 | 0 | FALSE | 1.072 | 0.15657 | 0.0082848 | 0 | 105.6 | 0.399 | [5 empty] | 125 | 0.01 | -0.509 |  |  | 6.62 | 12 | 2 | 10 |  | 95 | 0.03 | 1 | 1 |  | 0.39 | 3 |  |  |  |  | 5.1 | 3
mitdb | 202 | DS2 | 360 | 30.1 | MLII | 1871 | 1800 | 55 | 15 | 1 | 0 | 2.94 | 0.8 | AFIB,AFL,N | 42.13 | 71 | 0.336 | 1.64 | 0.659 | 72.7 | 0.904 | 11.56 | 52.7 | 61.111 | 0.035 | 0.518 | 0.095 | 1 | -0.396 | 0.848 | 30.3104 | 0 | AF/AFL;S_in_runs(SVTA);N_irregular_RR(FP_S_risk) | MLII,V1 | 1800 | 36 | 15 | FALSE | 0 | 0.739 | 2.506 | 1037 | 20.1 | 14 | 1 | 0 | 0 | FALSE | 1.62 | 0.13492 | 0.0076282 | 0 | 61.1 | 0.113 | [5 empty] | 133.3 | 0.05 | -0.264 |  |  |  |  | 1 |  |  | 19 | [10 empty] | 9.77 | 4 | 0.8 | 1
mitdb | 203 | DS1 | 360 | 30.1 | MLII | 2481 | 2103 | 0 | 373 | 1 | 4 | 0 | 15.03 | AFIB,AFL,T,VT | 97.96 | 99 | 0.33 | 1.85 |  |  |  | 26.15 | 0 | 91.667 | 0.012 | 0.012 | 0.108 |  |  | -0.819 | 26.0935 | 0 | AF/AFL;P_weak/absent;N_irregular_RR(FP_S_risk);VT_runs | MLII,V1 | 2103 |  | 373 | FALSE | 0 | 0.604 |  | 2099 | 26.2 | 0 | 0 | 54 | 17 | FALSE | 1.368 | 0.45112 | 0.012396 | 0 |  |  | 4 |  |  |  |  | 177.8 | 0.374 | 0.164 |  |  | 0.06 | 1 | 1 | [11 empty] | 0.45 | 17 | 19.34 | 17 | 5.24 | 2
mitdb | 205 | DS1 | 360 | 30.1 | MLII | 2201 | 2123 | 2 | 65 | 11 | 0 | 0.09 | 2.95 | N,VT | 0 | 88.3 | 0.097 | 1.12 | 0.729 | 100 |  | 0 | 0 | 52.778 | 0.06 | 0.932 | 0.107 |  |  | -0.699 | 26.3799 | 0 | VT_runs | MLII,V1 | 2123 | 2 | 65 | FALSE | 0 | 0.973 | 1.635 | 0 |  | 0 | 0 | 0 | 6 | FALSE | 1.127 | 0.098665 | 0.011993 | 0 | [7 empty] | 133.3 | 0.082 | 0.407 |  |  |  |  | 11 | [11 empty] | 0.36 | 6
mitdb | 207 | DS1 | 360 | 30.1 | MLII | 1592 | 1376 | 107 | 109 | 0 | 0 | 6.72 | 6.85 | B,IVR,N,SVTA,VFL | 0 | 61.8 | 2.435 | 100.02 | 0.992 | 8.4 | 0.556 | 0.07 | 99.1 | 105.556 | 0.044 | 0.667 | 0.326 | 0.998 | 0.875 | -0.919 | 27.9584 | 0 | S_not_premature;S_in_runs(SVTA);S≈N_morph+P;pause>100.02s;VT_runs | MLII,V1 |  | 107 | 4 | FALSE | 8 | 0.955 | 0.997 | 0 |  | 2 | 1 | 0 | 1 | FALSE | 1.241 | 0.26561 | 0.01 | 0 | 161.1 | 0.275 | [5 empty] | 202.8 | 0.045 | -0.446 | 0.14 | 1 |  |  |  |  | 1376 |  | 0.86 | 1 |  |  |  |  | 1.82 | 1 | [6 empty] | 1.64 | 1 | 105
mitdb | 208 | DS1 | 360 | 30.1 | MLII | 2437 | 1308 | 2 | 824 | 301 | 2 | 0.08 | 33.81 | N,T | 0 | 98.2 | 0.221 | 3.13 | 0.964 | 0 |  | 1.15 | 0 | 44.444 | 0.074 | 0.876 | 0.238 |  |  | 0.527 | 26.7533 | 0 | pause>3.13s | MLII,V1 | 1308 |  | 824 | FALSE | 1 | 0.918 | 0.986 | 0 |  | 0 | 0 | 156 | 0 | FALSE | 1.651 | 0.23519 | 0.011489 | 0 |  |  | 2 |  |  |  |  | 144.4 | 0.044 | 0.036 |  |  | 4.42 | 19 | 301 | [20 empty] | 2
mitdb | 209 | DS1 | 360 | 30.1 | MLII | 2519 | 2146 | 372 | 1 | 0 | 0 | 14.77 | 0.04 | N,SVTA | 0 | 99.9 | 0.137 | 0.86 | 0.93 | 40.1 | 0.775 | 0.23 | 71 | 58.333 | 0.06 | 0.835 | 0.237 | 0.995 | 0.591 |  | 23.0905 | 0 | S_not_premature;S_in_runs(SVTA) | MLII,V1 | 2146 | 372 | 1 | FALSE | 0 | 0.937 | 1.021 | 0 |  | 12 | 10 | 0 | 0 | FALSE | 1.256 | 0.28956 | 0.017515 | 0 | 55.6 | 0.092 | [16 empty] | 1.71 | 10
mitdb | 210 | DS2 | 360 | 30.1 | MLII | 2204 | 2010 | 20 | 165 | 9 | 0 | 0.91 | 7.49 | AFIB,B,T,VT | 97.64 | 88 | 0.176 | 1.49 | 0.612 | 100 | 0.998 | 8.46 | 10 | 63.889 | 0.007 | 0.299 | 0.147 | 0.969 | 0.529 | -0.841 | 28.081 | 0 | AF/AFL;P_weak/absent;N_irregular_RR(FP_S_risk);VT_runs | MLII,V1 | 2010 |  | 164 | FALSE | 0 | 0.826 | 1.679 | 1990 | 8.5 | 1 | 0 | 8 | 3 | FALSE | 1.193 | 0.14574 | 0.0098603 | 0 | 58.3 | 0.223 | [5 empty] | 97.2 | 0.175 | 0.649 | 0.38 | 5 | 0.11 | 1 | 9 |  |  | 20 | [8 empty] | 0.1 | 2 | 24.5 | 9 |  |  |  |  | 1
mitdb | 212 | DS2 | 360 | 30.1 | MLII | 2285 | 2285 | 0 | 0 | 0 | 0 | 0 | 0 | N | 0 | 91.3 | 0.063 | 0.98 |  |  |  | 0 | 0 | 105.556 | 0.164 | 0.951 | 0.341 |  |  |  | 23.0208 | 0 |  | MLII,V1 | 794 |  |  | FALSE | 0 | 0.918 |  | 0 |  | 0 | 0 | 0 | 0 | FALSE | 1.454 | 0.25549 | 0.017656 | 0 | [21 empty] | 1491
mitdb | 213 | DS2 | 360 | 30.1 | MLII | 2700 | 2209 | 27 | 195 | 269 | 0 | 1 | 7.22 | B,N,VT | 0 | 108 | 0.056 | 0.9 | 0.761 | 96.3 | 1 | 0 | 7.4 | 66.667 | 0.343 | 0.923 | 0.442 | 0.999 | -0.25 | 0.803 | 30.687 | 0 | VT_runs | MLII,V1 | 2209 | 24 | 195 | FALSE | 0 | 0.958 | 1.523 | 0 |  | 1 | 0 | 2 | 1 | FALSE | 1.917 | 0.3639 | 0.0073045 | 0 | 66.7 | 0.335 | [5 empty] | 105.6 | 0.271 | 0.928 | 0.91 | 17 |  |  | 269 |  |  | 3 | [8 empty] | 0.07 | 2
mitdb | 214 | DS2 | 360 | 30.1 | MLII | 1879 | 1664 | 0 | 212 | 1 | 2 | 0 | 11.28 | N,T,VT | 0 | 75.2 | 0.223 | 1.54 |  |  |  | 0.18 | 0 | 72.222 | 0.035 | 0.89 | 0.172 |  |  | 0.801 | 30.693 | 0 | VT_runs | MLII,V1 |  |  | 212 | FALSE | 0 | 0.901 |  | 0 |  | 0 | 0 | 5 | 2 | FALSE | 2.25 | 0.1067 | 0.0072994 | 0 |  |  | 2 |  |  |  |  | 163.9 | 0.142 | 0.007 |  |  | 0.84 | 8 | 1 |  | 1664 | [9 empty] | 0.08 | 2
mitdb | 215 | DS1 | 360 | 30.1 | MLII | 2795 | 2661 | 2 | 131 | 1 | 0 | 0.07 | 4.69 | N,VT | 0 | 111.8 | 0.099 | 1.09 | 0.83 | 100 |  | 0 | 0 | 66.667 | 0.077 | 0.857 | 0.398 |  |  | 0.728 | 22.389 | 0 | VT_runs | MLII,V1 | 2661 | 2 | 131 | FALSE | 0 | 0.921 | 1.478 | 0 |  | 0 | 0 | 14 | 1 | FALSE | 0.99 | 0.1637 | 0.018989 | 0 | [7 empty] | 80.6 | 0.125 | 0.147 |  |  |  |  | 1 | [11 empty] | 0.02 | 1
mitdb | 217 | paced | 360 | 30.1 | MLII | 1845 | 235 | 0 | 140 | 0 | 1470 | 0 | 7.59 | AFIB,B,P,VT | 16.33 | 73.4 | 0.1 | 1.01 |  |  |  | 5.53 | 0 | 66.667 | 0.017 | 0.148 | 0.558 |  |  | 0.856 | 22.9482 | 0 | PACED(exclude);AF/AFL;P_weak/absent;N_irregular_RR(FP_S_risk);VT_runs | MLII,V1 | 235 |  | 140 | TRUE | 0 | 0.849 |  | 217 | 5.5 | 0 | 0 | 8 | 1 | FALSE | 1.463 | 0.41313 | 0.017805 | 0 |  |  |  | 20.42 | 29 | 1241 | 229 | 111.1 | 0.091 | -0.71 | 0.54 | 7 | [14 empty] | 0.03 | 1 | 4.1 | 22
mitdb | 219 | DS2 | 360 | 30.1 | MLII | 1773 | 1715 | 7 | 51 | 0 | 0 | 0.39 | 2.88 | AFIB,B,N | 75.52 | 71.6 | 0.272 | 3.08 | 0.834 | 57.1 | 0.816 | 19.77 | 0 | 55.556 | 0.011 | 0.123 | 0.253 | 0.999 | 0.664 | 0.685 | 32.3985 | 0 | AF/AFL;P_weak/absent;N_irregular_RR(FP_S_risk);pause>3.08s | MLII,V1 | 1715 | 7 | 51 | FALSE | 3 | 0.697 | 1.36 | 1395 | 19.4 | 0 | 0 | 0 | 0 | FALSE | 2.335 | 0.44268 | 0.0059982 | 0 | 55.6 | 0.074 | [5 empty] | 111.1 | 0.278 | -0.65 | 0.13 | 2 | [16 empty] | 18.95 | 9
mitdb | 220 | DS1 | 360 | 30.1 | MLII | 1694 | 1601 | 93 | 0 | 0 | 0 | 5.49 | 0 | N,SVTA | 0 | 68 | 0.105 | 1.12 | 0.617 | 92.5 | 0.988 | 0.12 | 60.2 | 55.556 | 0.049 | 0.958 | 0.153 | 0.996 | -0.149 |  | 25.6796 | 0 | S_in_runs(SVTA) | MLII,V1 | 1601 | 93 |  | FALSE | 0 | 0.957 | 1.628 | 0 |  | 22 | 9 | 0 | 0 | FALSE | 2.151 | 0.053946 | 0.013 | 0 | 52.8 | 0.057 | [16 empty] | 0.26 | 8
mitdb | 221 | DS2 | 360 | 30.1 | MLII | 2020 | 1704 | 0 | 316 | 0 | 0 | 0 | 15.64 | AFIB,B,T,VT | 97.1 | 80.7 | 0.269 | 1.76 |  |  |  | 8.86 | 0 | 52.778 | 0.002 | 0.051 | 0.078 |  |  | 0.812 | 28.4195 | 0 | AF/AFL;P_weak/absent;N_irregular_RR(FP_S_risk);VT_runs | MLII,V1 | 1704 |  | 316 | FALSE | 0 | 0.816 |  | 1672 | 9 | 0 | 0 | 2 | 2 | FALSE | 1.547 | 0.16535 | 0.0094834 | 0 | [7 empty] | 152.8 | 0.102 | 0.45 | 0.05 | 1 | 0.61 | 7 | [12 empty] | 0.06 | 2 | 24.37 | 11
mitdb | 222 | DS2 | 360 | 30.1 | MLII | 2116 | 1907 | 209 | 0 | 0 | 0 | 9.88 | 0 | AB,AFIB,AFL,N,NOD,SVTA | 34.98 | 82.5 | 0.294 | 1.37 | 0.578 | 90.4 | 0.934 | 19.61 | 29.7 | 36.111 | 0.068 | 0.695 | 0.087 | 0.98 | -0.934 |  | 19.4931 | 0 | AF/AFL;N_irregular_RR(FP_S_risk) | MLII,V1 | 1695 | 208 |  | FALSE | 0 | 0.651 | 1.825 | 930 | 34.8 | 27 | 6 | 0 | 0 | FALSE | 0.722 | 0.5727 | 0.026503 | 0 | 36.1 | 0.155 | [13 empty] | 212 |  |  | 0.14 | 4 | 1 |  | 3.75 | 31 |  |  |  |  | 1.73 | 24 | 7.05 | 42 |  |  |  |  | 1.47 | 3
mitdb | 223 | DS1 | 360 | 30.1 | MLII | 2199 | 1670 | 66 | 455 | 8 | 0 | 3 | 20.69 | B,N,T,VT | 0 | 86.6 | 0.149 | 1.18 | 0.811 | 63.6 | 0.968 | 0.12 | 24.2 | 61.111 | 0.083 | 0.959 | 0.123 | 0.999 | 0.12 | 0.915 | 31.6531 | 0 | V≈N_morph;VT_runs | MLII,V1 | 1656 | 65 | 455 | FALSE | 0 | 0.957 | 1.363 | 0 |  | 8 | 0 | 25 | 7 | FALSE | 2.061 | 0.1043 | 0.0065356 | 0 | 61.1 | 0.053 | [5 empty] | 133.3 | 0.282 | 0.75 | 4.32 | 7 | 0.36 | 2 | 8 |  |  | 1 | [8 empty] | 1.76 | 7 | [10 empty] | 14
mitdb | 228 | DS2 | 360 | 30.1 | MLII | 1703 | 1398 | 3 | 302 | 0 | 0 | 0.18 | 17.73 | B,N | 0 | 68.2 | 0.214 | 1.68 | 0.76 | 100 | 0.998 | 1.65 | 0 | 83.333 | 0.159 | 0.818 | 0.323 |  |  | 0.682 | 24.2755 | 0 |  | MLII,V1 | 1398 | 3 | 302 | FALSE | 0 | 0.891 | 1.606 | 0 |  | 0 | 0 | 0 | 0 | FALSE | 0.835 | 0.42212 | 0.015282 | 0 | [7 empty] | 113.9 | 0.133 | 0.129 | 5.04 | 16
mitdb | 230 | DS1 | 360 | 30.1 | MLII | 1859 | 1858 | 0 | 1 | 0 | 0 | 0 | 0.05 | N,PREX | 0 | 75 | 0.107 | 1.04 |  |  |  | 0.65 | 0 | 66.667 | 0.074 | 0.944 | 0.246 |  |  |  | 31.5147 | 0 |  | MLII,V1 | 1858 |  | 1 | FALSE | 0 | 0.9 |  | 0 |  | 0 | 0 | 0 | 0 | FALSE | 1.717 | 0.12978 | 0.0066406 | 0 | [39 empty] | 10.26 | 87
mitdb | 231 | DS2 | 360 | 30.1 | MLII | 1278 | 1278 | 0 | 0 | 0 | 0 | 0 | 0 | BII,N | 0 | 52.2 | 0.279 | 1.8 |  |  |  | 1.8 | 0 | 100 | 0.102 | 0.961 | 0.282 |  |  |  | 26.4858 | 0 |  | MLII,V1 | 302 |  |  | FALSE | 0 | 0.917 |  | 0 |  | 0 | 0 | 0 | 0 | FALSE | 1.581 | 0.12373 | 0.011848 | 0 | [21 empty] | 976 | [19 empty] | 10.81 | 4
mitdb | 232 | DS2 | 360 | 30.1 | MLII | 1485 | 318 | 1167 | 0 | 0 | 0 | 78.59 | 0 | SBR | 0 | 59.2 | 0.624 | 5.87 | 0.993 | 2.2 | 0.994 | 0 | 99.2 | 41.667 | 0.104 | 0.925 | 0.328 | 0.998 | 0.289 |  | 26.0147 | 0 | S>N(prototype N unreliable);S_not_premature;S_in_runs(SVTA);pause>5.87s | MLII,V1 |  | 1167 |  | FALSE | 116 | 1.594 | 1.019 | 0 |  | 201 | 150 | 0 | 0 | TRUE | 0.783 | 0.2117 | 0.012508 | 0 | 55.6 | 0.043 | [13 empty] | 1 | [5 empty] | 317 | [21 empty] | 25.09 | 1
mitdb | 233 | DS2 | 360 | 30.1 | MLII | 2561 | 1859 | 4 | 692 | 6 | 0 | 0.16 | 27.02 | B,N,VT | 0 | 102.3 | 0.216 | 0.98 | 0.718 | 100 | 1 | 0 | 0 | 63.889 | 0.163 | 0.982 | 0.246 |  |  | -0.771 | 32.9838 | 0 | VT_runs | MLII,V1 | 1859 | 4 | 692 | FALSE | 0 | 0.968 | 1.583 | 0 |  | 0 | 0 | 49 | 5 | FALSE | 1.874 | 0.21955 | 0.0056072 | 0 | [7 empty] | 138.9 | 0.133 | 0.683 | 1.33 | 21 |  |  | 6 | [11 empty] | 0.15 | 5
mitdb | 234 | DS2 | 360 | 30.1 | MLII | 2291 | 2238 | 50 | 3 | 0 | 0 | 2.18 | 0.13 | N,SVTA | 0 | 91.5 | 0.047 | 0.99 | 0.944 | 20 | 0.687 | 0 | 100 | 50 | 0.108 | 0.966 | 0.074 | 0.997 | 0.823 |  | 32.238 | 0 | S_not_premature;S_in_runs(SVTA);S≈N_morph+P | MLII,V1 | 2238 |  | 3 | FALSE | 0 | 0.969 | 0.994 | 0 |  | 1 | 1 | 0 | 0 | FALSE | 1.643 | 0.14907 | 0.00611 | 0 | 50 | 0.074 | [16 empty] | 0.43 | 1 | 50

## nstdb
db | record | fs | dur_min | lead_used | n_beats | n_N | n_S | n_V | n_F | n_Q | S_pct | V_pct | rhythms | AF_burden_pct | HR_mean | RR_cv | RR_max_s | PI_S_median | PI_S_pct_lt0.85 | AUC_RR_S_vs_N | PI_N_pct_lt0.85 | S_in_runs_pct | N_qrs_ms | N_p_rel | N_p_cons | N_t_rel | corrQRS_S_vs_N | corrP_S_vs_N | corrQRS_V_vs_N | snr_db_median | pct_win_snr_lt10 | flags | leads | sym_N | sym_A | sym_V | paced | n_pause_gt2s | PI_N_p5 | comp_S_median | n_N_in_AF | S_runs_ge2 | S_runs_ge3 | V_couplets | V_runs_ge3 | S_majority_over_N | N_r_amp | bw_rel_median | hf_rel_median | pct_flat | S_qrs_ms | S_p_rel | V_qrs_ms | V_p_rel | corrP_V_vs_N | rhythm_B_min | rhythm_B_episodes | rhythm_T_min | rhythm_T_episodes | sym_R | note
nstdb | 118e00 | 360 | 30.1 | MLII | 1916 | 1817 | 86 | 13 | 0 | 0 | 4.49 | 0.68 | N | 0 | 75.7 | 0.116 | 1.57 | 0.758 | 91.9 | 0.993 | 0 | 2.3 | 119.444 | 0.143 | 0.698 | 0.261 | 0.998 | -0.226 | 0.864 | 15.7516 | 1.3333 |  | MLII,V1 |  | 86 | 13 | FALSE | 0 | 0.964 | 1.475 | 0 | 1 | 0 | 0 | 0 | FALSE | 1.313 | 2.3971 | 0.040787 | 0 | 122.2 | 0.078 | 97.2 | 0.218 | -0.327 |  |  |  |  | 1817
nstdb | 118e06 | 360 | 30.1 | MLII | 1916 | 1817 | 86 | 13 | 0 | 0 | 4.49 | 0.68 | N | 0 | 75.7 | 0.116 | 1.57 | 0.758 | 91.9 | 0.993 | 0 | 2.3 | 119.444 | 0.144 | 0.737 | 0.262 | 0.998 | -0.164 | 0.87 | 19.55 | 0 |  | MLII,V1 |  | 86 | 13 | FALSE | 0 | 0.964 | 1.475 | 0 | 1 | 0 | 0 | 0 | FALSE | 1.311 | 1.2526 | 0.02633 | 0 | 119.4 | 0.059 | 91.7 | 0.213 | -0.34 |  |  |  |  | 1817
nstdb | 118e12 | 360 | 30.1 | MLII | 1916 | 1817 | 86 | 13 | 0 | 0 | 4.49 | 0.68 | N | 0 | 75.7 | 0.116 | 1.57 | 0.758 | 91.9 | 0.993 | 0 | 2.3 | 119.444 | 0.146 | 0.791 | 0.263 | 0.998 | -0.113 | 0.85 | 21.9628 | 0 |  | MLII,V1 |  | 86 | 13 | FALSE | 0 | 0.964 | 1.475 | 0 | 1 | 0 | 0 | 0 | FALSE | 1.306 | 0.69844 | 0.019944 | 0 | 119.4 | 0.058 | 94.4 | 0.194 | -0.337 |  |  |  |  | 1817
nstdb | 118e18 | 360 | 30.1 | MLII | 1916 | 1817 | 86 | 13 | 0 | 0 | 4.49 | 0.68 | N | 0 | 75.7 | 0.116 | 1.57 | 0.758 | 91.9 | 0.993 | 0 | 2.3 | 119.444 | 0.146 | 0.844 | 0.259 | 0.998 | -0.075 | 0.84 | 23.0432 | 0 |  | MLII,V1 |  | 86 | 13 | FALSE | 0 | 0.964 | 1.475 | 0 | 1 | 0 | 0 | 0 | FALSE | 1.314 | 0.43226 | 0.017611 | 0 | 119.4 | 0.058 | 100 | 0.188 | -0.288 |  |  |  |  | 1817
nstdb | 118e24 | 360 | 30.1 | MLII | 1916 | 1817 | 86 | 13 | 0 | 0 | 4.49 | 0.68 | N | 0 | 75.7 | 0.116 | 1.57 | 0.758 | 91.9 | 0.993 | 0 | 2.3 | 119.444 | 0.147 | 0.878 | 0.259 | 0.998 | -0.025 | 0.838 | 23.3502 | 0 |  | MLII,V1 |  | 86 | 13 | FALSE | 0 | 0.964 | 1.475 | 0 | 1 | 0 | 0 | 0 | FALSE | 1.314 | 0.28702 | 0.016999 | 0 | 119.4 | 0.054 | 94.4 | 0.163 | -0.155 |  |  |  |  | 1817
nstdb | 118e_6 | 360 | 30.1 | MLII | 1916 | 1817 | 86 | 13 | 0 | 0 | 4.49 | 0.68 | N | 0 | 75.7 | 0.116 | 1.57 | 0.758 | 91.9 | 0.993 | 0 | 2.3 | 119.444 | 0.142 | 0.675 | 0.261 | 0.998 | -0.209 | 0.824 | 10.3102 | 48.6667 | noisy | MLII,V1 |  | 86 | 13 | FALSE | 0 | 0.964 | 1.475 | 0 | 1 | 0 | 0 | 0 | FALSE | 1.313 | 4.7698 | 0.076308 | 0 | 122.2 | 0.076 | 161.1 | 0.201 | -0.27 |  |  |  |  | 1817
nstdb | 119e00 | 360 | 30.1 | MLII | 1661 | 1297 | 0 | 364 | 0 | 0 | 0 | 21.91 | B,N,T | 0 | 66 | 0.283 | 1.47 |  |  |  | 0.85 | 0 | 58.333 | 0.133 | 0.579 | 0.228 |  |  | 0.643 | 21.6342 | 0 |  | MLII,V1 | 1297 |  | 364 | FALSE | 0 | 0.947 |  | 0 | 0 | 0 | 0 | 0 | FALSE | 2.193 | 1.2305 | 0.020714 | 0 |  |  | 119.4 | 0.084 | -0.558 | 2.98 | 28 | 3.21 | 15
nstdb | 119e06 | 360 | 30.1 | MLII | 1661 | 1297 | 0 | 364 | 0 | 0 | 0 | 21.91 | B,N,T | 0 | 66 | 0.283 | 1.47 |  |  |  | 0.85 | 0 | 58.333 | 0.132 | 0.673 | 0.227 |  |  | 0.643 | 26.1809 | 0 |  | MLII,V1 | 1297 |  | 364 | FALSE | 0 | 0.947 |  | 0 | 0 | 0 | 0 | 0 | FALSE | 2.193 | 0.65501 | 0.012272 | 0 |  |  | 119.4 | 0.084 | -0.556 | 2.98 | 28 | 3.21 | 15
nstdb | 119e12 | 360 | 30.1 | MLII | 1661 | 1297 | 0 | 364 | 0 | 0 | 0 | 21.91 | B,N,T | 0 | 66 | 0.283 | 1.47 |  |  |  | 0.85 | 0 | 58.333 | 0.13 | 0.759 | 0.228 |  |  | 0.643 | 29.0167 | 0 |  | MLII,V1 | 1297 |  | 364 | FALSE | 0 | 0.947 |  | 0 | 0 | 0 | 0 | 0 | FALSE | 2.193 | 0.37099 | 0.0088533 | 0 |  |  | 119.4 | 0.084 | -0.563 | 2.98 | 28 | 3.21 | 15
nstdb | 119e18 | 360 | 30.1 | MLII | 1661 | 1297 | 0 | 364 | 0 | 0 | 0 | 21.91 | B,N,T | 0 | 66 | 0.283 | 1.47 |  |  |  | 0.85 | 0 | 58.333 | 0.128 | 0.819 | 0.228 |  |  | 0.642 | 29.8403 | 0 |  | MLII,V1 | 1297 |  | 364 | FALSE | 0 | 0.947 |  | 0 | 0 | 0 | 0 | 0 | FALSE | 2.187 | 0.28302 | 0.0080524 | 0 |  |  | 119.4 | 0.085 | -0.565 | 2.98 | 28 | 3.21 | 15
nstdb | 119e24 | 360 | 30.1 | MLII | 1661 | 1297 | 0 | 364 | 0 | 0 | 0 | 21.91 | B,N,T | 0 | 66 | 0.283 | 1.47 |  |  |  | 0.85 | 0 | 58.333 | 0.128 | 0.861 | 0.229 |  |  | 0.642 | 30.0979 | 0 |  | MLII,V1 | 1297 |  | 364 | FALSE | 0 | 0.947 |  | 0 | 0 | 0 | 0 | 0 | FALSE | 2.187 | 0.27348 | 0.0078171 | 0 |  |  | 119.4 | 0.087 | -0.552 | 2.98 | 28 | 3.21 | 15
nstdb | 119e_6 | 360 | 30.1 | MLII | 1661 | 1297 | 0 | 364 | 0 | 0 | 0 | 21.91 | B,N,T | 0 | 66 | 0.283 | 1.47 |  |  |  | 0.85 | 0 | 58.333 | 0.134 | 0.538 | 0.229 |  |  | 0.642 | 16.0829 | 1.3333 |  | MLII,V1 | 1297 |  | 364 | FALSE | 0 | 0.947 |  | 0 | 0 | 0 | 0 | 0 | FALSE | 2.193 | 2.3866 | 0.039253 | 0 |  |  | 119.4 | 0.085 | -0.557 | 2.98 | 28 | 3.21 | 15
nstdb | bw | 360 | 30.1 | [10 empty] | 0 | [18 empty] | noise1,noise2 | [27 empty] | no atr (FileNotFoundError)
nstdb | em | 360 | 30.1 | [10 empty] | 0 | [18 empty] | noise1,noise2 | [27 empty] | no atr (FileNotFoundError)
nstdb | ma | 360 | 30.1 | [10 empty] | 0 | [18 empty] | noise1,noise2 | [27 empty] | no atr (FileNotFoundError)

## legend
column | meaning
n_* | AAMI class counts inside the EC57 window (after start_s; 300 s for MIT-BIH/NST/ESC/AHA, 0 for AFDB)
PI | prematurity index = RR_pre / median(previous 10 RR); S beats < 0.85 are "premature"
AUC_RR_S_vs_N | how well the prematurity index alone separates S from N in this record (1 = perfect, 0.5 = useless)
PI_N_pct_lt0.85 | % of N beats that look premature by RR alone -> false-positive S risk
S_in_runs_pct | % of S beats inside runs of >= 2 S (SVTA): only the first beat of a run is premature
N_qrs_ms / S_qrs_ms | QRS width of the median beat (derivative threshold, approximate)
N_p_rel / N_t_rel | P / T amplitude relative to R amplitude on the chosen lead
N_p_cons | median correlation of each beat's P window with the template (< 0.5: P weak, absent or AF)
corrQRS_S_vs_N, corrP_S_vs_N | template correlation between S and N beats in the QRS / P window (> 0.95: morphology gives no help)
snr_db_median | R amplitude vs 4 x std of > 40 Hz noise, per 10 s window
flags | difficulty flags explaining expected failure modes